Product: Afla-OtaCLEAN, 3 mL, widebore

According to the matrix please select the appropriate method.

1	For non fatty matrices recommended e.g. wheat, barley, maize:

- Extract 20 g of sample with 100 mL (80 % methanol : 20 % water) in a blender jar at high speed for five minutes.

- Pass the extract through a plaited filter.

- Add 14 mL of the purified extract to 86 mL PBS buffer (pH 7.2).

- Continue with 4.

2	For fatty matrices recommended e.g. nuts, paprika, chilli, and pistachio paste:

- Add 2.0 g of NaCl to 20 g of sample.

- Extract with 100 mL of methanol: water (8:2) and 50 mL of n-hexane in a blender jar at high speed for five minutes.

- Pass the extract through a plaited filter
(Note: If there is a separation of phases to be found, the lower liquid phase is used for the following steps). To accelerate phase separation the extract could be centrifuged at 1000xg for 5 min.

- Add 14 mL of the purified extract to 86 mL PBS buffer (pH 7.2).

- Continue with 4.

3	For spices recommended e.g. black pepper, coriander, cumin, turmeric, and ginger:

- Add 2.0 g of NaCl to 20 g of sample.

- Extract with 100 mL of methanol : water (8:2) and 50 mL of n-hexane in a blender jar at high speed for five minutes.

- Pass the extract through a plaited filter
(Note: If there is a separation of phases to be found, the lower liquid phase is used for the following steps). To accelerate phase separation the extract could be centrifuged at 1000xg for 5 min.

- Add 5 mL of the purified extract to 30 mL PBS buffer (pH 7.2) 
containing 8 % Tween20.

- Continue with 4.

4	Immunoaffinity chromatography procedure:

- The sample is recommended to be passed through a 0.2 µ syringe filter to remove residual turbidity.

- Take 5 - 50 mL of the diluted extract (depending on the extraction procedure and the sensitivity of detection) and pass it through the Afla-OtaCLEAN column. For spices (e.g. black pepper, cumin, turmeric, ginger, coriander) a maximum of 14 mL could be applied onto the Afla-OtaCLEAN column. A gentle vacuum or overpressure may be used in all steps passing liquid through the column; nevertheless, it is indispensable to maintain a maximum flow rate of 2 mL/min. 50 mL diluted extract (using protocol 1 or 2) represent 1.4 g matrix. 14 mL diluted extract (using protocol 3) represent 0.4 g matrix.

- To wash the column, pass 10 mL of distilled water through the column.

- Carefully remove the residual water in the column.

- Elute with at least 2 times 1 mL of methanol; let the first addition of methanol act on the gel for 5 minutes.

- Dilute or concentrate eluate to your requirements and measure directly by HPLC; alternatively, carefully concentrate to dryness and store cool and in the dark.

If you have any questions, please contact: mycotoxins@LCTech.de